## Slide 1: Potable Reuse: Introduction and Overview of Texas Projects
Texas Innovative Water Seminar
October 12, 2010
Ellen T. McDonald, Ph.D., P.E.
Alan Plummer Associates, Inc.

## Slide 2: Then
“Water, water everywhere, but not a drop to drink”
Editorial cartoon from the Philadelphia Record, March 14, 1937

## Slide 3: Now
Singapore Public Utilities Board
http://www.pub.gov.sg/newater/

## Slide 4: Ongoing Challenges
Public health and safety
Balancing human and ecological needs
Treatment requirements
Public acceptance

## Slide 5: Texas Regulatory Drivers- Indirect Potable Reuse
Surface Water
  Surface Water Quality Standards
  Water rights permitting
Groundwater
  For potable aquifers, injected water must meet drinking water standards

## Slide 6: Texas Potable Reuse Projects
El Paso
Tarrant Regional Water District
North Texas Regional Water District
Colorado River Municipal Water District

## Slide 7: Permitted Discharges-2009

## Slide 8: El Paso Water Utilities- Hueco Bolson Recharge Project
Notes: Fred Hervey plant put in operation in 1985. Current design capacity of 10 MGD. (Being upgraded to 12.2 MGD)

## Slide 9
TARRANT REGIONAL WATER DISTRICT
WETLAND REUSE PROJECT
Tarrant Co.
Dallas Co.
EXISTING SUPPLY
Richland-Chambers
Cedar Creek
Bridgeport
Eagle Mtn.
Benbrook
Arlington
Trinity
River
Cedar
Creek
Richland-
Chambers
Current Wetland
Phase II Wetland

## Slide 10: TRWD PILOT-SCALE WETLAND RESEARCH
Site Selection
Flooding Effects
Planting/Harvesting Requirements
Water Management
Bioaccumulation Potential
Long Term Viability
Notes: Pilot wetland- 2.5 acres

## Slide 11: FIELD-SCALE WETLAND

## Slide 12: FULL SCALE PROJECT LAYOUT

## Slide 14: Trinity River Before Treatment

## Slide 15: End of Wetland After Treatment

## Slide 16
Major WWTPs
Diversion Point
Raw Water Transfer
Muddy Ck
Rowlett Ck
Duck Ck
South Mesquite Ck
Wilson Ck
Lake
Ray
Hubbard
Lavon
Lake
East Fork Trinity River
Chapman Lake Inflow
Lake Texoma Inflow
Constructed
Wetland
Lake Tawakoni Inflow
NTMWD East Fork
Raw Water Supply Project

## Slide 17: Lake Lavon Water Level
Chart: 
Conservation Pool
Drought

## Slide 18: Project Site Characteristics
East Fork of Trinity
Wetland easement (2000 acres)
3.7 miles
1.4 miles
Avg. Slope = 0.1%
Direction of flow
NORTH

## Slide 19: Constructed Wetland
Phase 2 Nursery (cells 6B, 6C)
Phase 1 Nursery
Area B
Area A
Sedimentation
Basins

## Slide 20
NTMWD Wetland

## Slide 22: Water Supply Impact
Lake Lavon Yield:
104,000 ac-ft/yr
(93 MGD)
East Fork Water
Supply Project:
102,000 ac-ft/yr
(91 MGD)
+
Total Yield: 206,000 ac-ft/yr
(184 MGD)
+

## Slide 24: CRMWD Current Surface Water Supplies
7.1%
3.7%
36%
As of 10/1/10

## Slide 27
Ellen McDonald, Ph.D., P.E.
Alan Plummer Associates, Inc
Fort Worth, TX
emcdonald@apaienv.com
817-806-1700
QUESTIONS?
www.funnyanimalsite.com